## Sheet1
ACH50 | Lighting_power_density_ | Chiller_COP | Pump_efficiency | Fan_total_efficiency | heat_recover_effectiveness | AHU_economiser | Occupied_floor_area | Floor | Basement | Ground | Room_Elec_01 | Room_Elec_02 | Room_Elec_03 | Room_Elec_04 | Room_Elec_05 | Room_Elec_06 | Room_Elec_07 | Room_Elec_08 | Room_Elec_09 | Room_Elec_10 | Room_Elec_11 | Room_Elec_12 | Lighting_01 | Lighting_02 | Lighting_03 | Lighting_04 | Lighting_05 | Lighting_06 | Lighting_07 | Lighting_08 | Lighting_09 | Lighting_10 | Lighting_11 | Lighting_12 | Fans_01 | Fans_02 | Fans_03 | Fans_04 | Fans_05 | Fans_06 | Fans_07 | Fans_08 | Fans_09 | Fans_10 | Fans_11 | Fans_12 | Pumps_01 | Pumps_02 | Pumps_03 | Pumps_04 | Pumps_05 | Pumps_06 | Pumps_07 | Pumps_08 | Pumps_09 | Pumps_10 | Pumps_11 | Pumps_12 | Heating_01 | Heating_02 | Heating_03 | Heating_04 | Heating_05 | Heating_06 | Heating_07 | Heating_08 | Heating_09 | Heating_10 | Heating_11 | Heating_12 | Cooling_01 | Cooling_02 | Cooling_03 | Cooling_04 | Cooling_05 | Cooling_06 | Cooling_07 | Cooling_08 | Cooling_09 | Cooling_10 | Cooling_11 | Cooling_12 | DHW_01 | DHW_02 | DHW_03 | DHW_04 | DHW_05 | DHW_06 | DHW_07 | DHW_08 | DHW_09 | DHW_10 | DHW_11 | DHW_12
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 22745.37 | 20542.55 | 22738.83 | 22000.98 | 22731.98 | 21997.89 | 22730.71 | 22730.61 | 21997.83 | 22732.57 | 22002.93 | 22741.99 | 6.1314 | 15.6626 | 39.4525 | 99.918 | 154.3629 | 238.9862 | 483.4981 | 510.6994 | 256.9613 | 135.2919 | 71.1303 | 23.7241 | 7933.021 | 6308.829 | 4552.519 | 2162.168 | 1007.206 | 563.3182 | 349.4044 | 297.9832 | 530.3654 | 1314.185 | 3166.165 | 6184.525 | 2780.641 | 5730.04 | 17654.92 | 27042.4 | 31134.35 | 36629.94 | 60917.62 | 65100.88 | 38405.21 | 30128.46 | 22573.9 | 9734.353 | 94.3173 | 85.486 | 94.2494 | 89.2848 | 87.4321 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7746 | 85.1169 | 92.4597
20 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 21670.76 | 19572.28 | 21665.52 | 20963.41 | 21660.64 | 20961.36 | 21659.72 | 21659.65 | 20961.31 | 21661.04 | 20964.8 | 21668.08 | 8.1812 | 17.6004 | 41.1204 | 97.4706 | 148.2615 | 228.1563 | 464.5493 | 490.939 | 245.9419 | 131.0056 | 71.0537 | 25.9129 | 6045.1 | 4782.776 | 3336.841 | 1560.568 | 814.8661 | 503.9866 | 335.9176 | 298.7196 | 474.6752 | 1019.82 | 2279.608 | 4660.655 | 3758.498 | 6671.58 | 18572.73 | 27075.05 | 30994.02 | 35918.83 | 59225.9 | 63166.89 | 37631.16 | 30034.91 | 23003.11 | 10770.54 | 94.3174 | 85.4859 | 94.2495 | 89.2837 | 87.4322 | 78.7536 | 77.4423 | 76.0585 | 75.1956 | 81.7704 | 85.1154 | 92.4595
15 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 20679.17 | 18676.96 | 20675.29 | 20006.42 | 20672.42 | 20005.22 | 20671.78 | 20671.74 | 20005.17 | 20672.65 | 20007.18 | 20677.14 | 10.6793 | 19.6898 | 42.669 | 94.6655 | 143.0464 | 217.5599 | 447.093 | 473.0697 | 235.5859 | 126.8285 | 70.116 | 28.1946 | 4140.034 | 3223.053 | 2133.034 | 1067.445 | 648.0959 | 447.2534 | 318.0504 | 297.325 | 420.4669 | 768.877 | 1463.703 | 3091.989 | 4947.339 | 7742.497 | 19452.46 | 27146.66 | 30868.87 | 35248.51 | 57692.25 | 61444.58 | 36917 | 29962.13 | 23496.97 | 11870.58 | 94.317 | 85.4857 | 94.2473 | 89.2833 | 87.4321 | 78.7511 | 77.4385 | 76.0585 | 75.1929 | 81.7671 | 85.1141 | 92.4583
25 | 6.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 38759.29 | 35007.66 | 38757.4 | 37508.74 | 38759.29 | 37506.86 | 38759.29 | 38758.34 | 37507.8 | 38759.29 | 37507.8 | 38758.34 | 22746.14 | 20543.2 | 22739.42 | 22001.44 | 22732.18 | 21997.98 | 22730.77 | 22730.67 | 21997.91 | 22732.84 | 22003.45 | 22742.66 | 5.3332 | 14.4952 | 37.473 | 97.3927 | 151.6873 | 236.5458 | 480.9739 | 508.1013 | 254.5057 | 132.7428 | 68.9439 | 22.2007 | 8332.267 | 6646.181 | 4856.332 | 2399.789 | 1113.257 | 607.3012 | 381.2599 | 331.4212 | 571.5096 | 1454.901 | 3439.631 | 6531.006 | 2399.882 | 5251.155 | 16806.41 | 26757.01 | 31077.49 | 36446.86 | 60621.47 | 64769.99 | 38221.48 | 30023.56 | 22078.21 | 9108.75 | 94.3173 | 85.4863 | 94.2494 | 89.2852 | 87.4322 | 78.7572 | 77.4447 | 76.0602 | 75.2015 | 81.7757 | 85.117 | 92.4597
25 | 5.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 32796.32 | 29621.86 | 32794.72 | 31738.17 | 32796.32 | 31736.57 | 32796.32 | 32795.52 | 31737.37 | 32796.32 | 31737.37 | 32795.52 | 22746.94 | 20543.86 | 22740.02 | 22001.95 | 22732.44 | 21998.08 | 22730.83 | 22730.73 | 21998 | 22733.17 | 22003.99 | 22743.34 | 4.6148 | 13.3491 | 35.5065 | 94.8652 | 148.9297 | 234.1012 | 478.4306 | 505.493 | 252.0523 | 130.1513 | 66.7706 | 20.7218 | 8742.424 | 6988.201 | 5163.906 | 2660.822 | 1244.239 | 659.8509 | 413.3234 | 362.5944 | 621.3167 | 1623.395 | 3718.727 | 6881.448 | 2054.197 | 4795.369 | 15952.28 | 26453.49 | 31024.88 | 36266.07 | 60325.82 | 64440.41 | 38040.84 | 29912.2 | 21558.63 | 8496.886 | 94.3174 | 85.4864 | 94.2488 | 89.2849 | 87.4335 | 78.759 | 77.4476 | 76.0603 | 75.2028 | 81.7763 | 85.1172 | 92.4596
25 | 7.5 | 6.5 | 0.9 | 0.7 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 22745.37 | 20542.55 | 22738.83 | 22000.98 | 22731.98 | 21997.89 | 22730.71 | 22730.61 | 21997.83 | 22732.57 | 22002.93 | 22741.99 | 6.1314 | 15.6626 | 39.4525 | 99.918 | 154.3629 | 238.9862 | 483.4981 | 510.6994 | 256.9613 | 135.2919 | 71.1303 | 23.7241 | 7933.021 | 6308.829 | 4552.519 | 2162.168 | 1007.206 | 563.3182 | 349.4044 | 297.9832 | 530.3654 | 1314.185 | 3166.165 | 6184.525 | 2352.85 | 4848.495 | 14938.78 | 22882.03 | 26344.45 | 30994.57 | 51545.68 | 55085.36 | 32496.71 | 25493.31 | 19100.99 | 8236.76 | 94.3173 | 85.486 | 94.2494 | 89.2848 | 87.4321 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7746 | 85.1169 | 92.4597
25 | 7.5 | 7.5 | 0.9 | 0.7 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 22745.37 | 20542.55 | 22738.83 | 22000.98 | 22731.98 | 21997.89 | 22730.71 | 22730.61 | 21997.83 | 22732.57 | 22002.93 | 22741.99 | 6.1314 | 15.6626 | 39.4525 | 99.918 | 154.3629 | 238.9862 | 483.4981 | 510.6994 | 256.9613 | 135.2919 | 71.1303 | 23.7241 | 7933.021 | 6308.829 | 4552.519 | 2162.168 | 1007.206 | 563.3182 | 349.4044 | 297.9832 | 530.3654 | 1314.185 | 3166.165 | 6184.525 | 2039.137 | 4202.029 | 12946.94 | 19831.09 | 22831.86 | 26861.96 | 44672.92 | 47740.64 | 28163.82 | 22094.21 | 16554.19 | 7138.525 | 94.3173 | 85.486 | 94.2494 | 89.2848 | 87.4321 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7746 | 85.1169 | 92.4597
25 | 7.5 | 5.5 | 0.8 | 0.7 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 22745.37 | 20542.55 | 22738.83 | 22000.98 | 22731.98 | 21997.89 | 22730.71 | 22730.61 | 21997.83 | 22732.57 | 22002.93 | 22741.99 | 6.8979 | 17.6205 | 44.384 | 112.4077 | 173.6582 | 268.8594 | 543.9354 | 574.5369 | 289.0814 | 152.2034 | 80.0216 | 26.6896 | 7933.021 | 6308.829 | 4552.519 | 2162.168 | 1007.206 | 563.3182 | 349.4044 | 297.9832 | 530.3654 | 1314.185 | 3166.165 | 6184.525 | 2780.641 | 5730.04 | 17654.92 | 27042.4 | 31134.35 | 36629.94 | 60917.62 | 65100.88 | 38405.21 | 30128.46 | 22573.9 | 9734.353 | 94.3173 | 85.486 | 94.2494 | 89.2848 | 87.4321 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7746 | 85.1169 | 92.4597
25 | 7.5 | 5.5 | 0.7 | 0.7 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 22745.37 | 20542.55 | 22738.83 | 22000.98 | 22731.98 | 21997.89 | 22730.71 | 22730.61 | 21997.83 | 22732.57 | 22002.93 | 22741.99 | 7.8833 | 20.1377 | 50.7246 | 128.466 | 198.4665 | 307.2679 | 621.6405 | 656.6135 | 330.3788 | 173.9468 | 91.4533 | 30.5024 | 7933.021 | 6308.829 | 4552.519 | 2162.168 | 1007.206 | 563.3182 | 349.4044 | 297.9832 | 530.3654 | 1314.185 | 3166.165 | 6184.525 | 2780.641 | 5730.04 | 17654.92 | 27042.4 | 31134.35 | 36629.94 | 60917.62 | 65100.88 | 38405.21 | 30128.46 | 22573.9 | 9734.353 | 94.3173 | 85.486 | 94.2494 | 89.2848 | 87.4321 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7746 | 85.1169 | 92.4597
25 | 7.5 | 5.5 | 0.9 | 0.8 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 19904.34 | 17976.39 | 19897.6 | 19251.38 | 19890.72 | 19248.29 | 19889.45 | 19889.35 | 19248.23 | 19891.32 | 19253.33 | 19900.83 | 5.1157 | 14.1496 | 36.7743 | 96.2013 | 149.7537 | 232.7051 | 475.3286 | 502.2993 | 250.8598 | 131.0286 | 67.9492 | 21.7199 | 8049.357 | 6377.692 | 4562.9 | 2162.771 | 1007.555 | 563.5505 | 349.738 | 298.2191 | 530.5791 | 1314.601 | 3169.781 | 6234.614 | 2315.864 | 5160.672 | 16653.09 | 26670.21 | 30988.69 | 36252.84 | 60323.37 | 64461.51 | 38033.06 | 29941.02 | 21956.64 | 8989.653 | 94.3173 | 85.4861 | 94.2494 | 89.2848 | 87.4321 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7748 | 85.1169 | 92.4597
25 | 7.5 | 5.5 | 0.9 | 0.9 | 0.75 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 17694.63 | 15980.49 | 17687.75 | 17112.81 | 17680.86 | 17109.71 | 17679.59 | 17679.49 | 17109.65 | 17681.46 | 17114.76 | 17691.05 | 4.4405 | 13.0394 | 34.7328 | 93.3394 | 146.225 | 227.8637 | 469.0238 | 495.82 | 246.2114 | 127.741 | 65.5301 | 20.2257 | 8130.602 | 6435.095 | 4572.16 | 2163.241 | 1007.826 | 563.7315 | 349.9973 | 298.4028 | 530.7453 | 1314.935 | 3172.919 | 6275.492 | 1995.369 | 4739.214 | 15867.98 | 26364.2 | 30881.97 | 35962.38 | 59861.71 | 63965.26 | 37748.54 | 29792.35 | 21456.28 | 8423.247 | 94.3173 | 85.486 | 94.2494 | 89.2848 | 87.4321 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7748 | 85.1171 | 92.4597
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.85 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 22744.08 | 20541.73 | 22738.75 | 22000.98 | 22731.98 | 21997.89 | 22730.71 | 22730.61 | 21997.83 | 22732.57 | 22002.91 | 22741.42 | 25.2564 | 34.9752 | 60.0078 | 117.7259 | 165.8852 | 242.6635 | 482.9408 | 507.7768 | 260.6149 | 147.6361 | 90.4907 | 44.8681 | 7264.269 | 5883.676 | 4510.813 | 2162.168 | 1007.2 | 563.3109 | 349.6607 | 297.992 | 530.361 | 1314.18 | 3159.854 | 5887.766 | 11637.51 | 13939.13 | 25665.04 | 28899.96 | 31322.06 | 36855.68 | 60821.01 | 64678.23 | 38565.79 | 30740.89 | 27122.32 | 18401.26 | 94.3172 | 85.4858 | 94.2494 | 89.2848 | 87.4321 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7746 | 85.117 | 92.4596
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.95 | 0 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 22744 | 20541.7 | 22738.75 | 22000.98 | 22731.98 | 21997.89 | 22730.71 | 22730.61 | 21997.83 | 22732.57 | 22002.91 | 22741.39 | 53.1013 | 59.4422 | 80.7906 | 135.5008 | 177.3373 | 246.3213 | 482.3776 | 504.8311 | 264.2437 | 159.8172 | 109.9724 | 69.8721 | 7223.296 | 5866.872 | 4510.81 | 2162.168 | 1007.194 | 563.3035 | 349.8777 | 297.9998 | 530.3568 | 1314.175 | 3159.853 | 5877.545 | 24045.74 | 23451.6 | 29842.14 | 29450.56 | 31557.83 | 37098.78 | 60724 | 64260.12 | 38748.86 | 31123.16 | 29330.57 | 27296.27 | 94.3172 | 85.4857 | 94.2494 | 89.2848 | 87.4321 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7746 | 85.117 | 92.4596
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 1 | 49148.8 | 3 | 1 | 0 | 94275.92 | 85152.45 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 94275.92 | 91234.77 | 94275.92 | 91234.77 | 94275.92 | 44722.25 | 40393.45 | 44720.08 | 43279.32 | 44722.25 | 43277.14 | 44722.25 | 44721.16 | 43278.23 | 44722.25 | 43278.23 | 44721.16 | 22764.78 | 20558.25 | 22749.74 | 22004.17 | 22732.09 | 21997.89 | 22730.71 | 22730.61 | 21997.84 | 22733.38 | 22009.37 | 22757.33 | 0.011568 | 0.010448 | 0.013737 | 10.7312 | 66.4347 | 214.0259 | 481.8133 | 510.6023 | 228.7232 | 50.7626 | 3.5469 | 0.011569 | 17970.61 | 14427.78 | 10193.25 | 3807.508 | 1067.142 | 563.4661 | 349.4071 | 297.9825 | 534.5322 | 1735.69 | 6495.891 | 14119.22 | 0 | 0 | 0.002361 | 3434.491 | 17842.08 | 34940.84 | 60794.27 | 65097.07 | 36255.34 | 14346.25 | 1113.047 | 0 | 94.3155 | 85.4854 | 94.249 | 89.2845 | 87.4328 | 78.7557 | 77.4426 | 76.0597 | 75.2009 | 81.7774 | 85.1199 | 92.4588
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20474.63 | 18492.14 | 20470.66 | 19808.16 | 20467.45 | 19806.78 | 20466.68 | 20466.7 | 19806.72 | 20467.76 | 19809.04 | 20472.53 | 10.6574 | 19.544 | 41.5665 | 92.2326 | 138.4039 | 209.2498 | 425.9472 | 448.8141 | 225.897 | 122.4638 | 68.6529 | 27.4852 | 3072.816 | 2403.244 | 1688.048 | 882.6735 | 568.72 | 399.925 | 300.0739 | 305.5355 | 380.4694 | 675.0409 | 1190.553 | 2340.533 | 4922.193 | 7691.948 | 18948.64 | 26309.07 | 29929.49 | 34061.69 | 55254.34 | 58564.36 | 35620.78 | 28997.98 | 22890.15 | 11611.65 | 205.4779 | 186.2364 | 205.3297 | 194.5164 | 190.4825 | 171.576 | 168.7229 | 165.711 | 163.8226 | 178.1484 | 185.4305 | 201.4335
20 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20467.83 | 18486.24 | 20464.82 | 19803.22 | 20462.63 | 19802.22 | 20462.03 | 20462.07 | 19802.17 | 20462.86 | 19803.75 | 20466.23 | 13.7498 | 22.6775 | 44.8637 | 95.0086 | 140.3109 | 210.0159 | 426.0427 | 448.5085 | 226.5843 | 124.5105 | 71.625 | 30.919 | 2324.454 | 1808.361 | 1270.561 | 723.9777 | 504.3544 | 373.9398 | 293.4367 | 305.9762 | 356.0502 | 583.5958 | 910.6713 | 1766.396 | 6375.875 | 9048.269 | 20373.28 | 26688.77 | 29950.4 | 34104.14 | 55259.09 | 58519.46 | 35647.8 | 29097.3 | 23669.98 | 13078.36 | 205.4763 | 186.2363 | 205.3271 | 194.5145 | 190.4827 | 171.576 | 168.7234 | 165.711 | 163.8226 | 178.1422 | 185.4294 | 201.4321
15 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20457.95 | 18477.58 | 20455.98 | 19795.33 | 20454.68 | 19794.62 | 20454.23 | 20454.29 | 19794.58 | 20454.84 | 19795.58 | 20456.87 | 17.4576 | 26.2663 | 48.3216 | 97.9871 | 142.2874 | 210.7961 | 426.0945 | 448.1493 | 227.2764 | 126.6416 | 74.7694 | 34.7198 | 1596.047 | 1239.874 | 900.4396 | 595.3746 | 441.9129 | 346.3936 | 284.1536 | 303.9555 | 330.9337 | 498.5181 | 685.4045 | 1216.313 | 8114.17 | 10592.45 | 21808.23 | 27043.58 | 29961.03 | 34140.95 | 55259.46 | 58469.75 | 35667.24 | 29182.84 | 24438.78 | 14651.81 | 205.4761 | 186.236 | 205.3272 | 194.5145 | 190.4827 | 171.576 | 168.723 | 165.711 | 163.8226 | 178.1374 | 185.4293 | 201.4311
25 | 6.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 31655.77 | 28591.43 | 31653.51 | 30634.32 | 31655.77 | 30632.06 | 31655.77 | 31654.64 | 30633.19 | 31655.77 | 30633.19 | 31654.64 | 20438.93 | 18459.9 | 20434.97 | 19773.6 | 20431.71 | 19772.2 | 20430.95 | 20430.97 | 19772.14 | 20432.02 | 19774.5 | 20436.82 | 9.2881 | 18.0122 | 39.5137 | 89.5947 | 135.7546 | 206.7751 | 423.3634 | 446.1789 | 223.4238 | 119.9281 | 66.378 | 25.685 | 3179.119 | 2487.124 | 1748.524 | 907.0438 | 571.6672 | 398.6424 | 297.3347 | 302.9655 | 379.5157 | 681.9379 | 1230.494 | 2418.962 | 4274.896 | 7038.156 | 18051.14 | 25970.2 | 29846.45 | 33856.24 | 54935.95 | 58218.77 | 35418.74 | 28855.34 | 22359.13 | 10850.25 | 205.4786 | 186.2365 | 205.3297 | 194.5164 | 190.4826 | 171.5768 | 168.7236 | 165.711 | 163.8226 | 178.1479 | 185.4305 | 201.4321
25 | 5.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 26785.65 | 24192.75 | 26783.74 | 25921.35 | 26785.65 | 25919.44 | 26785.65 | 26784.69 | 25920.39 | 26785.65 | 25920.39 | 26784.69 | 20403.29 | 18427.71 | 20399.33 | 19739.12 | 20396.04 | 19737.68 | 20395.29 | 20395.31 | 19737.63 | 20396.35 | 19740.01 | 20401.18 | 8.0284 | 16.5165 | 37.45 | 86.9823 | 133.1141 | 204.2811 | 420.7637 | 443.5382 | 220.9595 | 117.318 | 64.0588 | 23.9373 | 3289.829 | 2570.384 | 1807.311 | 936.0181 | 574.3224 | 397.5013 | 294.5961 | 300.3735 | 378.5485 | 689.9617 | 1271.305 | 2499.76 | 3675.184 | 6409.272 | 17130.83 | 25617.23 | 29764.44 | 33652.85 | 54618.38 | 57875 | 35219.73 | 28700.54 | 21809.96 | 10106.92 | 205.4797 | 186.2357 | 205.3285 | 194.5165 | 190.4832 | 171.5785 | 168.7253 | 165.7122 | 163.8252 | 178.1484 | 185.4317 | 201.4327
25 | 7.5 | 6.5 | 0.9 | 0.7 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20474.63 | 18492.14 | 20470.66 | 19808.16 | 20467.45 | 19806.78 | 20466.68 | 20466.7 | 19806.72 | 20467.76 | 19809.04 | 20472.53 | 10.6574 | 19.544 | 41.5665 | 92.2326 | 138.4039 | 209.2498 | 425.9472 | 448.8141 | 225.897 | 122.4638 | 68.6529 | 27.4852 | 3072.816 | 2403.244 | 1688.048 | 882.6735 | 568.72 | 399.925 | 300.0739 | 305.5355 | 380.4694 | 675.0409 | 1190.553 | 2340.533 | 4164.932 | 6508.571 | 16033.47 | 22261.52 | 25324.96 | 28821.43 | 46753.67 | 49554.46 | 30140.66 | 24536.75 | 19368.59 | 9825.245 | 205.4779 | 186.2364 | 205.3297 | 194.5164 | 190.4825 | 171.576 | 168.7229 | 165.711 | 163.8226 | 178.1484 | 185.4305 | 201.4335
25 | 7.5 | 7.5 | 0.9 | 0.7 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20474.63 | 18492.14 | 20470.66 | 19808.16 | 20467.45 | 19806.78 | 20466.68 | 20466.7 | 19806.72 | 20467.76 | 19809.04 | 20472.53 | 10.6574 | 19.544 | 41.5665 | 92.2326 | 138.4039 | 209.2498 | 425.9472 | 448.8141 | 225.897 | 122.4638 | 68.6529 | 27.4852 | 3072.816 | 2403.244 | 1688.048 | 882.6735 | 568.72 | 399.925 | 300.0739 | 305.5355 | 380.4694 | 675.0409 | 1190.553 | 2340.533 | 3609.608 | 5640.762 | 13895.67 | 19293.32 | 21948.29 | 24978.57 | 40519.85 | 42947.2 | 26121.91 | 21265.19 | 16786.11 | 8515.213 | 205.4779 | 186.2364 | 205.3297 | 194.5164 | 190.4825 | 171.576 | 168.7229 | 165.711 | 163.8226 | 178.1484 | 185.4305 | 201.4335
25 | 7.5 | 5.5 | 0.8 | 0.7 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20474.63 | 18492.14 | 20470.66 | 19808.16 | 20467.45 | 19806.78 | 20466.68 | 20466.7 | 19806.72 | 20467.76 | 19809.04 | 20472.53 | 11.9895 | 21.987 | 46.7623 | 103.7617 | 155.7044 | 235.406 | 479.1906 | 504.9158 | 254.1342 | 137.7718 | 77.2345 | 30.9208 | 3072.816 | 2403.244 | 1688.048 | 882.6735 | 568.72 | 399.925 | 300.0739 | 305.5355 | 380.4694 | 675.0409 | 1190.553 | 2340.533 | 4922.193 | 7691.948 | 18948.64 | 26309.07 | 29929.49 | 34061.69 | 55254.34 | 58564.36 | 35620.78 | 28997.98 | 22890.15 | 11611.65 | 205.4779 | 186.2364 | 205.3297 | 194.5164 | 190.4825 | 171.576 | 168.7229 | 165.711 | 163.8226 | 178.1484 | 185.4305 | 201.4335
25 | 7.5 | 5.5 | 0.7 | 0.7 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20474.63 | 18492.14 | 20470.66 | 19808.16 | 20467.45 | 19806.78 | 20466.68 | 20466.7 | 19806.72 | 20467.76 | 19809.04 | 20472.53 | 13.7023 | 25.128 | 53.4427 | 118.5848 | 177.9479 | 269.0354 | 547.6464 | 577.0466 | 290.4391 | 157.4535 | 88.268 | 35.3381 | 3072.816 | 2403.244 | 1688.048 | 882.6735 | 568.72 | 399.925 | 300.0739 | 305.5355 | 380.4694 | 675.0409 | 1190.553 | 2340.533 | 4922.193 | 7691.948 | 18948.64 | 26309.07 | 29929.49 | 34061.69 | 55254.34 | 58564.36 | 35620.78 | 28997.98 | 22890.15 | 11611.65 | 205.4779 | 186.2364 | 205.3297 | 194.5164 | 190.4825 | 171.576 | 168.7229 | 165.711 | 163.8226 | 178.1484 | 185.4305 | 201.4335
25 | 7.5 | 5.5 | 0.9 | 0.8 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 17916.56 | 16181.58 | 17912.44 | 17332.46 | 17909.22 | 17331.08 | 17908.46 | 17908.47 | 17331.02 | 17909.53 | 17333.35 | 17914.37 | 9.2208 | 17.8854 | 39.1942 | 89.1198 | 134.5326 | 203.88 | 418.8647 | 441.6001 | 220.7333 | 118.883 | 65.9174 | 25.4899 | 3127.547 | 2436.042 | 1691.923 | 883.6762 | 569.3604 | 400.4566 | 300.6906 | 306.0363 | 381.0171 | 675.753 | 1192.599 | 2364.918 | 4284.593 | 7053.513 | 18070.17 | 25968.02 | 29813.44 | 33743.15 | 54742.93 | 58020.3 | 35313.69 | 28833.14 | 22347.29 | 10863.56 | 205.4779 | 186.2364 | 205.3297 | 194.5164 | 190.4825 | 171.576 | 168.7227 | 165.711 | 163.8226 | 178.1484 | 185.4315 | 201.4335
25 | 7.5 | 5.5 | 0.9 | 0.9 | 0.75 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 15926.96 | 14384.49 | 15922.72 | 15406.92 | 15919.49 | 15405.53 | 15918.72 | 15918.74 | 15405.47 | 15919.8 | 15407.8 | 15924.71 | 8.1909 | 16.6504 | 37.3841 | 86.7236 | 131.552 | 199.7425 | 413.4015 | 436.0332 | 216.7677 | 116.1112 | 63.8041 | 24.0013 | 3175.578 | 2466.469 | 1695.478 | 884.437 | 569.8626 | 400.8712 | 301.1242 | 306.4256 | 381.4273 | 676.3024 | 1194.24 | 2388.32 | 3817.201 | 6569.471 | 17378.64 | 25694.21 | 29725.32 | 33498.64 | 54346.94 | 57598.05 | 35078.19 | 28701.48 | 21903.51 | 10297.24 | 205.4779 | 186.2364 | 205.3297 | 194.5164 | 190.4825 | 171.576 | 168.7227 | 165.711 | 163.8226 | 178.1484 | 185.4315 | 201.4335
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.85 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20473.82 | 18491.67 | 20470.63 | 19808.16 | 20467.45 | 19806.78 | 20466.68 | 20466.7 | 19806.72 | 20467.76 | 19809.04 | 20472.22 | 35.7374 | 42.4563 | 62.4838 | 110.0813 | 150.4236 | 213.4983 | 425.9676 | 446.4727 | 230.1247 | 135.1904 | 88.2817 | 51.471 | 2791.325 | 2236.724 | 1678.918 | 882.6736 | 568.7139 | 399.9152 | 300.2369 | 305.5398 | 380.4634 | 675.0369 | 1189.629 | 2231.437 | 16680.61 | 17646.23 | 26646.29 | 28092.26 | 30103.79 | 34320.01 | 55241.09 | 58224.18 | 35801.81 | 29619.42 | 27277.32 | 21475.83 | 205.4767 | 186.2364 | 205.3297 | 194.5164 | 190.4825 | 171.576 | 168.7227 | 165.711 | 163.8226 | 178.1484 | 185.4305 | 201.4335
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.95 | 0 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20473.81 | 18491.67 | 20470.63 | 19808.16 | 20467.45 | 19806.78 | 20466.68 | 20466.7 | 19806.72 | 20467.76 | 19809.04 | 20472.22 | 63.9625 | 67.1001 | 83.3515 | 127.4113 | 162.3127 | 217.715 | 425.9339 | 444.1106 | 234.3299 | 147.6072 | 107.5472 | 76.6398 | 2786.918 | 2236.178 | 1678.918 | 882.6736 | 568.7079 | 399.9058 | 300.3543 | 305.543 | 380.4575 | 675.0333 | 1189.628 | 2231.428 | 27615.83 | 25498.59 | 29348.95 | 28601.37 | 30308.42 | 34595.73 | 55228.51 | 57887.57 | 36009.29 | 29970.15 | 28549.6 | 28700.25 | 205.4767 | 186.2364 | 205.3297 | 194.5164 | 190.4825 | 171.576 | 168.7227 | 165.711 | 163.8226 | 178.1484 | 185.4305 | 201.4335
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 1 | 22309.7 | 2 | 1 | 0 | 84220.16 | 76069.81 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 84220.16 | 81503.38 | 84220.16 | 81503.38 | 84220.16 | 36525.89 | 32990.11 | 36523.28 | 35347.3 | 36525.89 | 35344.69 | 36525.89 | 36524.58 | 35345.99 | 36525.89 | 35345.99 | 36524.58 | 20505.5 | 18516.42 | 20485.96 | 19812.67 | 20467.7 | 19806.78 | 20466.68 | 20466.7 | 19806.75 | 20469.02 | 19818.59 | 20495.76 | 0.025203 | 0.022764 | 0.027066 | 9.1654 | 56.041 | 176.6951 | 416.3503 | 452.5201 | 193.9395 | 43.2534 | 3.0454 | 0.025204 | 13845.5 | 10873.69 | 7027.23 | 2455.335 | 653.9483 | 400.0883 | 300.1029 | 305.5337 | 388.9699 | 1117.152 | 4520.24 | 10445.98 | 0 | 0 | 0.001805 | 3040.262 | 16319.47 | 31605.09 | 54386.56 | 59059.95 | 33027.46 | 13160.04 | 992.3448 | 0 | 205.4789 | 186.2319 | 205.3364 | 194.5256 | 190.4829 | 171.576 | 168.7229 | 165.711 | 163.8221 | 178.1553 | 185.4418 | 201.4521
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14635.22 | 13218.87 | 14635.17 | 14162.99 | 14635.02 | 14162.95 | 14635 | 14635.25 | 14162.94 | 14635.06 | 14162.96 | 14635.17 | 27.5538 | 32.8901 | 48.654 | 84.6453 | 116.2244 | 165.7571 | 333.1352 | 348.1522 | 178.3078 | 104.535 | 67.2645 | 39.9826 | 202.3207 | 164.5158 | 175.4154 | 138.3481 | 108.6245 | 119.1359 | 101.8563 | 213.1628 | 114.9647 | 130.2953 | 123.5608 | 180.1149 | 13000.89 | 13553.2 | 19923.07 | 20459.19 | 22002.3 | 26080.59 | 43816.98 | 46593.64 | 27299.01 | 21584.46 | 19760.85 | 16308.01 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.2832 | 206.5227 | 203.0836 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
20 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14635.22 | 13218.87 | 14635.17 | 14162.99 | 14635.02 | 14162.95 | 14635 | 14635.25 | 14162.94 | 14635.06 | 14162.96 | 14635.17 | 27.5538 | 32.8901 | 48.654 | 84.6453 | 116.2244 | 165.7571 | 333.1352 | 348.1522 | 178.3078 | 104.535 | 67.2645 | 39.9826 | 202.3207 | 164.5158 | 175.4154 | 138.3481 | 108.6245 | 119.1359 | 101.8563 | 213.1628 | 114.9647 | 130.2953 | 123.5608 | 180.1149 | 13000.89 | 13553.2 | 19923.07 | 20459.19 | 22002.3 | 26080.59 | 43816.98 | 46593.64 | 27299.01 | 21584.46 | 19760.85 | 16308.01 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.2832 | 206.5227 | 203.0836 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
15 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14635.22 | 13218.87 | 14635.17 | 14162.99 | 14635.02 | 14162.95 | 14635 | 14635.25 | 14162.94 | 14635.06 | 14162.96 | 14635.17 | 27.5538 | 32.8901 | 48.654 | 84.6453 | 116.2244 | 165.7571 | 333.1352 | 348.1522 | 178.3078 | 104.535 | 67.2645 | 39.9826 | 202.3207 | 164.5158 | 175.4154 | 138.3481 | 108.6245 | 119.1359 | 101.8563 | 213.1628 | 114.9647 | 130.2953 | 123.5608 | 180.1149 | 13000.89 | 13553.2 | 19923.07 | 20459.19 | 22002.3 | 26080.59 | 43816.98 | 46593.64 | 27299.01 | 21584.46 | 19760.85 | 16308.01 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.2832 | 206.5227 | 203.0836 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
25 | 6.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 26922.89 | 24317.38 | 26922.7 | 26054.38 | 26922.89 | 26054.2 | 26922.89 | 26922.79 | 26054.29 | 26922.89 | 26054.29 | 26922.79 | 14593.44 | 13181.13 | 14593.38 | 14122.56 | 14593.24 | 14122.52 | 14593.23 | 14593.46 | 14122.51 | 14593.29 | 14122.53 | 14593.39 | 25.7667 | 31.1744 | 46.897 | 82.5338 | 114.3067 | 164.105 | 331.808 | 347.0826 | 176.7228 | 102.6148 | 65.3367 | 38.1759 | 216.1816 | 177.4719 | 188.8826 | 152.3058 | 123.3319 | 132.7525 | 116.6297 | 226.0756 | 128.6021 | 144.3746 | 136.7802 | 193.5712 | 12175.79 | 12924.27 | 19712.69 | 20588.37 | 22132.38 | 26031.28 | 43567.57 | 46268.38 | 27239.06 | 21704.79 | 19757.61 | 15724.25 | 247.3358 | 224.1679 | 247.1559 | 234.1398 | 229.2847 | 206.5226 | 203.0836 | 199.4707 | 197.1905 | 214.4306 | 223.1996 | 242.4671
25 | 5.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 22780.91 | 20576.24 | 22780.75 | 22046.02 | 22780.91 | 22045.86 | 22780.91 | 22780.83 | 22045.94 | 22780.91 | 22045.94 | 22780.83 | 14553.07 | 13144.67 | 14553.01 | 14083.5 | 14552.88 | 14083.46 | 14552.87 | 14553.08 | 14083.45 | 14552.92 | 14083.47 | 14553.02 | 23.9004 | 29.396 | 44.9976 | 80.1928 | 111.8183 | 161.7631 | 329.4339 | 344.6739 | 174.4632 | 100.2131 | 63.2539 | 36.2334 | 230.3631 | 191.4522 | 202.8652 | 166.5553 | 138.4773 | 147.5973 | 132.2519 | 239.2618 | 143.9722 | 159.0932 | 151.7917 | 207.8727 | 11312.83 | 12210.24 | 19245.96 | 20434.16 | 22013 | 25812.89 | 43257.8 | 45936.27 | 27019.55 | 21565.4 | 19493.8 | 15030.55 | 247.3361 | 224.1667 | 247.1563 | 234.1423 | 229.2846 | 206.5225 | 203.084 | 199.4707 | 197.1933 | 214.4312 | 223.1994 | 242.47
25 | 7.5 | 6.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14635.22 | 13218.87 | 14635.17 | 14162.99 | 14635.02 | 14162.95 | 14635 | 14635.25 | 14162.94 | 14635.06 | 14162.96 | 14635.17 | 27.5538 | 32.8901 | 48.654 | 84.6453 | 116.2244 | 165.7571 | 333.1352 | 348.1522 | 178.3078 | 104.535 | 67.2645 | 39.9826 | 202.3207 | 164.5158 | 175.4154 | 138.3481 | 108.6245 | 119.1359 | 101.8563 | 213.1628 | 114.9647 | 130.2953 | 123.5608 | 180.1149 | 11000.75 | 11468.09 | 16857.99 | 17311.62 | 18617.33 | 22068.19 | 37075.91 | 39425.39 | 23099.16 | 18263.78 | 16720.72 | 13799.09 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.2832 | 206.5227 | 203.0836 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
25 | 7.5 | 7.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14635.22 | 13218.87 | 14635.17 | 14162.99 | 14635.02 | 14162.95 | 14635 | 14635.25 | 14162.94 | 14635.06 | 14162.96 | 14635.17 | 27.5538 | 32.8901 | 48.654 | 84.6453 | 116.2244 | 165.7571 | 333.1352 | 348.1522 | 178.3078 | 104.535 | 67.2645 | 39.9826 | 202.3207 | 164.5158 | 175.4154 | 138.3481 | 108.6245 | 119.1359 | 101.8563 | 213.1628 | 114.9647 | 130.2953 | 123.5608 | 180.1149 | 9533.987 | 9939.011 | 14610.25 | 15003.41 | 16135.02 | 19125.77 | 32132.45 | 34168.67 | 20019.28 | 15828.61 | 14491.29 | 11959.21 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.2832 | 206.5227 | 203.0836 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
25 | 7.5 | 5.5 | 0.8 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14635.22 | 13218.87 | 14635.17 | 14162.99 | 14635.02 | 14162.95 | 14635 | 14635.25 | 14162.94 | 14635.06 | 14162.96 | 14635.17 | 30.998 | 37.0014 | 54.7357 | 95.226 | 130.7525 | 186.4768 | 374.7771 | 391.6712 | 200.5963 | 117.6019 | 75.6726 | 44.9804 | 202.3207 | 164.5158 | 175.4154 | 138.3481 | 108.6245 | 119.1359 | 101.8563 | 213.1628 | 114.9647 | 130.2953 | 123.5608 | 180.1149 | 13000.89 | 13553.2 | 19923.07 | 20459.19 | 22002.3 | 26080.59 | 43816.98 | 46593.64 | 27299.01 | 21584.46 | 19760.85 | 16308.01 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.2832 | 206.5227 | 203.0836 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
25 | 7.5 | 5.5 | 0.7 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14635.22 | 13218.87 | 14635.17 | 14162.99 | 14635.02 | 14162.95 | 14635 | 14635.25 | 14162.94 | 14635.06 | 14162.96 | 14635.17 | 35.4263 | 42.2873 | 62.5551 | 108.8297 | 149.4314 | 213.1163 | 428.3167 | 447.6242 | 229.2529 | 134.4021 | 86.4829 | 51.4062 | 202.3207 | 164.5158 | 175.4154 | 138.3481 | 108.6245 | 119.1359 | 101.8563 | 213.1628 | 114.9647 | 130.2953 | 123.5608 | 180.1149 | 13000.89 | 13553.2 | 19923.07 | 20459.19 | 22002.3 | 26080.59 | 43816.98 | 46593.64 | 27299.01 | 21584.46 | 19760.85 | 16308.01 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.2832 | 206.5227 | 203.0836 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
25 | 7.5 | 5.5 | 0.9 | 0.8 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 12805.88 | 11566.56 | 12805.82 | 12392.66 | 12805.67 | 12392.62 | 12805.66 | 12805.9 | 12392.61 | 12805.72 | 12392.62 | 12805.83 | 25.7922 | 31.1624 | 46.7101 | 82.2024 | 113.229 | 161.6025 | 327.6317 | 342.5646 | 174.3083 | 101.7619 | 65.069 | 38.0653 | 203.7462 | 165.3382 | 175.722 | 138.6623 | 108.9615 | 119.5552 | 102.3879 | 213.6011 | 115.3784 | 130.6343 | 123.7094 | 180.5091 | 12315.02 | 13004.41 | 19613.53 | 20356.91 | 21872.94 | 25803.79 | 43391.32 | 46133.79 | 27025.43 | 21454.67 | 19570.61 | 15765.55 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.283 | 206.5227 | 203.0836 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
25 | 7.5 | 5.5 | 0.9 | 0.9 | 0.75 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 11383.06 | 10281.43 | 11382.99 | 11015.73 | 11382.84 | 11015.69 | 11382.83 | 11383.08 | 11015.68 | 11382.89 | 11015.7 | 11383.01 | 24.442 | 29.841 | 45.2186 | 80.3182 | 110.9176 | 158.4 | 323.3987 | 338.2555 | 171.2386 | 99.6074 | 63.3704 | 36.599 | 204.9345 | 166.22 | 175.9603 | 138.8956 | 109.2314 | 119.8796 | 102.8151 | 213.9425 | 115.6934 | 130.893 | 123.9526 | 181.0964 | 11773.59 | 12563.83 | 19345.84 | 20266.74 | 21776.27 | 25590.35 | 43059.77 | 45776.75 | 26814.61 | 21354.73 | 19410.16 | 15335.57 | 247.3357 | 224.1684 | 247.1555 | 234.1378 | 229.283 | 206.5227 | 203.0834 | 199.4707 | 197.1922 | 214.4333 | 223.199 | 242.4664
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.85 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14635.22 | 13218.87 | 14635.17 | 14162.99 | 14635.02 | 14162.95 | 14635 | 14635.25 | 14162.94 | 14635.06 | 14162.96 | 14635.17 | 52.798 | 54.9193 | 67.2959 | 100.1638 | 126.8285 | 169.5601 | 333.2191 | 346.045 | 182.0097 | 115.6726 | 84.3412 | 62.4725 | 199.8986 | 164.5158 | 175.4154 | 138.3482 | 108.6165 | 119.1212 | 102.048 | 213.1741 | 114.9558 | 130.2899 | 123.5597 | 180.1041 | 20784.35 | 18924.73 | 21149.39 | 20728.18 | 22360.22 | 26372.72 | 43822.91 | 46266.52 | 27533.62 | 22000.87 | 20611.36 | 21063.38 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.2832 | 206.5227 | 203.0834 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.95 | 0 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14635.22 | 13218.87 | 14635.17 | 14162.99 | 14635.02 | 14162.95 | 14635 | 14635.25 | 14162.94 | 14635.06 | 14162.96 | 14635.17 | 77.2057 | 76.0064 | 84.5105 | 114.5892 | 137.2487 | 173.3325 | 333.3376 | 343.9368 | 185.6762 | 126.4802 | 100.2543 | 83.8582 | 199.8988 | 164.5159 | 175.4155 | 138.3482 | 108.6095 | 119.107 | 102.2948 | 213.1849 | 114.9471 | 130.2849 | 123.5583 | 180.1042 | 21151.54 | 19161.32 | 21311.67 | 21221.52 | 22950.84 | 26685.36 | 43828.16 | 45942.11 | 27797.22 | 22543.46 | 21009.25 | 21271.47 | 247.3357 | 224.1686 | 247.1555 | 234.1378 | 229.2832 | 206.5227 | 203.0836 | 199.4707 | 197.1908 | 214.4333 | 223.199 | 242.4664
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 1 | 22950.4 | 2 | 1 | 0 | 27807.76 | 25116.69 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 27807.76 | 26910.74 | 27807.76 | 26910.74 | 27807.76 | 31064.87 | 28058.51 | 31064.66 | 30062.75 | 31064.87 | 30062.54 | 31064.87 | 31064.76 | 30062.64 | 31064.87 | 30062.64 | 31064.76 | 14659.25 | 13237.3 | 14645.47 | 14165.02 | 14635.17 | 14162.95 | 14635 | 14635.25 | 14162.96 | 14635.71 | 14168.2 | 14652.22 | 0.030338 | 0.027402 | 0.031811 | 7.153 | 43.6416 | 137.258 | 323.9939 | 350.6136 | 150.6003 | 33.6763 | 2.388 | 0.03034 | 10973.04 | 8427.692 | 4794.926 | 1047.494 | 178.9048 | 119.4118 | 101.908 | 213.1567 | 121.4936 | 419.7592 | 2474.023 | 7820.646 | 0 | 0 | 0.00159 | 2374.381 | 12343.01 | 23857.42 | 42897.3 | 46985.68 | 25121.49 | 9960.422 | 770.6213 | 0 | 247.3519 | 224.1844 | 247.1724 | 234.1517 | 229.2882 | 206.5227 | 203.0836 | 199.4707 | 197.1923 | 214.452 | 223.2177 | 242.477
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21379.86 | 19305.57 | 21357.43 | 20659.22 | 21342.36 | 20650.42 | 21336.21 | 21335.84 | 20650.42 | 21344.01 | 20666.22 | 21368.37 | 15.1149 | 26.1398 | 55.4302 | 114.6072 | 154.1742 | 222.4386 | 417.9025 | 439.2069 | 234.4531 | 138.4666 | 80.3724 | 35.5105 | 16576.72 | 13326.13 | 9576.527 | 6380.844 | 4875.433 | 3633.03 | 2956.92 | 2840.996 | 3634.994 | 5390.672 | 8562.87 | 12990.67 | 6999.74 | 9778.995 | 20982.73 | 24013.35 | 26723.02 | 32467.3 | 53122.38 | 56766.86 | 33818.46 | 25887.67 | 21336.91 | 13441.81 | 242.6151 | 219.947 | 242.4603 | 229.6926 | 225.1842 | 202.7287 | 199.3103 | 195.7832 | 193.6472 | 210.6658 | 219.0139 | 237.8669
20 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21379.91 | 19305.66 | 21357.45 | 20659.23 | 21342.36 | 20650.41 | 21336.21 | 21335.84 | 20650.43 | 21344.01 | 20666.21 | 21368.44 | 15.1193 | 26.1411 | 55.4321 | 114.5586 | 154.1729 | 222.4369 | 417.9025 | 439.2069 | 234.4561 | 138.4666 | 80.3636 | 35.5127 | 16591.74 | 13354.29 | 9582.74 | 6383.634 | 4875.163 | 3631.199 | 2956.925 | 2840.996 | 3635.591 | 5390.673 | 8560.042 | 13013.68 | 7001.758 | 9779.92 | 20982.94 | 24015.36 | 26722.96 | 32467.12 | 53122.38 | 56766.86 | 33818.57 | 25887.67 | 21336.57 | 13441.52 | 242.6167 | 219.9461 | 242.4528 | 229.6949 | 225.1817 | 202.7286 | 199.3103 | 195.7832 | 193.6407 | 210.6658 | 219.0031 | 237.8682
15 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21379.88 | 19305.65 | 21357.46 | 20659.25 | 21342.35 | 20650.41 | 21336.21 | 21335.84 | 20650.42 | 21343.98 | 20666.22 | 21368.41 | 15.1267 | 26.1488 | 55.4318 | 114.5843 | 154.1717 | 222.4331 | 417.9025 | 439.2069 | 234.4531 | 138.463 | 80.3654 | 35.5077 | 16580.78 | 13353.29 | 9587.545 | 6387.635 | 4873.816 | 3631.85 | 2956.924 | 2840.996 | 3634.999 | 5382.828 | 8563.56 | 13003.83 | 7005.065 | 9782.386 | 20982.42 | 24014.47 | 26722.84 | 32466.82 | 53122.38 | 56766.86 | 33818.46 | 25886.24 | 21337.23 | 13439.98 | 242.6262 | 219.9431 | 242.4545 | 229.6873 | 225.1773 | 202.723 | 199.3103 | 195.7832 | 193.648 | 210.6658 | 219.0058 | 237.8595
25 | 6.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 26287.98 | 23743.91 | 26287.79 | 25439.96 | 26287.98 | 25439.77 | 26287.98 | 26287.89 | 25439.86 | 26287.98 | 25439.86 | 26287.89 | 21381.79 | 19307.2 | 21358.95 | 20660.54 | 21343.72 | 20651.74 | 21337.59 | 21337.22 | 20651.72 | 21345.38 | 20667.58 | 21370.18 | 14.0807 | 25.0241 | 53.8733 | 112.8299 | 152.8677 | 221.8112 | 419.3027 | 440.9558 | 233.9448 | 137.0401 | 78.7702 | 34.1328 | 17177.68 | 13835.64 | 10050.12 | 6792.229 | 5301.269 | 4046.645 | 3386.829 | 3272.398 | 4038.604 | 5818.699 | 8987.703 | 13556.33 | 6495.007 | 9286.104 | 20339.18 | 23532.06 | 26279.42 | 32071.3 | 52855.09 | 56627.4 | 33432.84 | 25417.3 | 20813.13 | 12855.43 | 242.6199 | 219.9482 | 242.4555 | 229.6823 | 225.1695 | 202.729 | 199.3154 | 195.7789 | 193.6281 | 210.6293 | 219.0032 | 237.8587
25 | 5.5 | 5.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 22243.67 | 20091 | 22243.52 | 21526.12 | 22243.67 | 21525.96 | 22243.67 | 22243.6 | 21526.04 | 22243.67 | 21526.04 | 22243.6 | 21383.62 | 19308.67 | 21360.21 | 20661.7 | 21344.88 | 20652.88 | 21338.75 | 21338.43 | 20652.82 | 21346.49 | 20668.71 | 21371.64 | 13.0693 | 23.9104 | 52.3678 | 111.0553 | 151.5472 | 221.1703 | 421.2107 | 442.8968 | 233.4408 | 135.4586 | 77.1847 | 32.6643 | 17748.24 | 14293.45 | 10443.18 | 7152.465 | 5660.417 | 4401.182 | 3748.59 | 3648.29 | 4381.805 | 6163.067 | 9340.386 | 14010.39 | 6004.591 | 8797.552 | 19682.1 | 23046.45 | 25832.93 | 31666.42 | 52582.25 | 56493.17 | 33046.35 | 24948.25 | 20291.28 | 12273.99 | 242.617 | 219.9449 | 242.4779 | 229.6816 | 225.1096 | 202.7182 | 199.3134 | 195.7703 | 193.6251 | 210.6218 | 219.0134 | 237.8746
25 | 7.5 | 6.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21379.82 | 19305.64 | 21357.39 | 20659.23 | 21342.35 | 20650.41 | 21336.21 | 21335.84 | 20650.42 | 21343.98 | 20666.23 | 21368.43 | 15.1099 | 26.1458 | 55.4257 | 114.5817 | 154.1705 | 222.4369 | 417.9025 | 439.2069 | 234.4531 | 138.463 | 80.3698 | 35.5057 | 16564.52 | 13349.75 | 9565.047 | 6381.465 | 4872.543 | 3631.202 | 2956.925 | 2840.996 | 3634.994 | 5382.828 | 8567.61 | 13010.95 | 5920.79 | 8276.16 | 17752.66 | 20319.91 | 22611.58 | 27472.18 | 44949.7 | 48033.5 | 28615.62 | 21903.74 | 18054.44 | 11370.66 | 242.6159 | 219.9493 | 242.4541 | 229.688 | 225.1838 | 202.7286 | 199.3103 | 195.7832 | 193.6472 | 210.6658 | 219.0051 | 237.866
25 | 7.5 | 7.5 | 0.9 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21379.89 | 19305.61 | 21357.39 | 20659.24 | 21342.35 | 20650.41 | 21336.21 | 21335.84 | 20650.42 | 21343.98 | 20666.21 | 21368.43 | 15.1255 | 26.1418 | 55.4271 | 114.5841 | 154.1733 | 222.4369 | 417.9025 | 439.2069 | 234.4531 | 138.463 | 80.3605 | 35.5082 | 16586.19 | 13338.47 | 9565.957 | 6385.807 | 4872.818 | 3631.202 | 2956.925 | 2840.996 | 3634.994 | 5382.828 | 8561.007 | 13010.85 | 5136.636 | 7171.271 | 15386.31 | 17610.6 | 19596.79 | 23809.22 | 38956.41 | 41629.03 | 24800.2 | 18983.24 | 15646.01 | 9855.253 | 242.6382 | 219.9528 | 242.4425 | 229.6855 | 225.1825 | 202.7286 | 199.3103 | 195.7832 | 193.6472 | 210.6658 | 218.9945 | 237.8612
25 | 7.5 | 5.5 | 0.8 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21379.81 | 19305.65 | 21357.43 | 20659.23 | 21342.36 | 20650.41 | 21336.21 | 21335.84 | 20650.42 | 21344.01 | 20666.2 | 21368.37 | 17.0009 | 29.4153 | 62.3585 | 128.9337 | 173.4435 | 250.2416 | 470.1403 | 494.1078 | 263.7597 | 155.7749 | 90.406 | 39.9427 | 16560.69 | 13353.14 | 9577.073 | 6382.717 | 4876.393 | 3631.304 | 2956.924 | 2840.996 | 3634.999 | 5390.672 | 8555.392 | 12990.66 | 6998.283 | 9782.201 | 20982.57 | 24013.37 | 26722.84 | 32467.13 | 53122.38 | 56766.86 | 33818.45 | 25887.67 | 21336.37 | 13437.65 | 242.6159 | 219.948 | 242.4511 | 229.6851 | 225.1881 | 202.7286 | 199.3103 | 195.7832 | 193.6468 | 210.6658 | 219.0142 | 237.8635
25 | 7.5 | 5.5 | 0.7 | 0.7 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21379.96 | 19305.63 | 21357.48 | 20659.24 | 21342.36 | 20650.41 | 21336.21 | 21335.84 | 20650.42 | 21343.98 | 20666.21 | 21368.47 | 19.4448 | 33.6124 | 71.2787 | 147.3212 | 198.2225 | 285.9908 | 537.3032 | 564.6946 | 301.4397 | 178.0238 | 103.3256 | 45.66 | 16607.41 | 13345.9 | 9594.788 | 6384.755 | 4876.124 | 3631.469 | 2956.924 | 2840.996 | 3634.994 | 5382.828 | 8559.075 | 13022.76 | 7003.803 | 9780.544 | 20986.63 | 24014.44 | 26722.95 | 32467.16 | 53122.38 | 56766.86 | 33818.46 | 25886.24 | 21336 | 13440.73 | 242.6162 | 219.9501 | 242.4513 | 229.6864 | 225.1765 | 202.7286 | 199.3103 | 195.7832 | 193.6472 | 210.6658 | 218.9994 | 237.8618
25 | 7.5 | 5.5 | 0.9 | 0.8 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 18714.52 | 16898.04 | 18691.63 | 18079.39 | 18676.53 | 18070.52 | 18670.36 | 18669.97 | 18070.55 | 18678.16 | 18086.39 | 18702.73 | 13.3797 | 24.1831 | 52.581 | 110.7056 | 149.9747 | 216.9962 | 411.5515 | 432.9302 | 229.2566 | 134.466 | 77.1839 | 33.1022 | 16733.47 | 13429.54 | 9591.872 | 6384.021 | 4879.864 | 3617.495 | 2954.42 | 2832.48 | 3625.666 | 5388.406 | 8570.079 | 13054.48 | 6266.732 | 9133.69 | 20383.71 | 23812.82 | 26506.79 | 32085.87 | 52615.98 | 56250.43 | 33444.82 | 25657.07 | 20971.11 | 12713.23 | 242.6141 | 219.9549 | 242.4462 | 229.6781 | 225.1568 | 202.7224 | 199.3148 | 195.7755 | 193.6362 | 210.6321 | 219.0038 | 237.8687
25 | 7.5 | 5.5 | 0.9 | 0.9 | 0.75 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 16641.59 | 15025.67 | 16618.27 | 16072.84 | 16603.1 | 16063.96 | 16596.92 | 16596.53 | 16063.96 | 16604.71 | 16079.9 | 16629.51 | 12.1158 | 22.7185 | 50.3953 | 107.9207 | 146.6792 | 212.8073 | 406.4055 | 427.9672 | 225.1923 | 131.4091 | 74.7446 | 31.3008 | 16890.1 | 13557.24 | 9613.442 | 6384.418 | 4880.905 | 3612.33 | 2952.136 | 2830.281 | 3613.561 | 5381.608 | 8587.661 | 13120.06 | 5723.132 | 8636.952 | 19895.57 | 23644.96 | 26340.34 | 31793.48 | 52203.59 | 55838.39 | 33152.43 | 25482.47 | 20679.2 | 12159.62 | 242.6362 | 219.9536 | 242.4532 | 229.6775 | 225.1408 | 202.7255 | 199.309 | 195.7831 | 193.6424 | 210.6235 | 219.0087 | 237.873
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.85 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21377.33 | 19303.84 | 21357.44 | 20659.24 | 21342.36 | 20650.41 | 21336.21 | 21335.84 | 20650.42 | 21343.98 | 20666.19 | 21367.35 | 31.474 | 41.4549 | 71.4171 | 128.7275 | 162.8275 | 225.2421 | 417.4798 | 437.0887 | 237.1418 | 147.8149 | 94.9368 | 52.351 | 15785.36 | 12785.79 | 9580.668 | 6386.13 | 4874.143 | 3631.189 | 2958.621 | 2840.671 | 3635.201 | 5382.733 | 8553.443 | 12674.05 | 14163.57 | 15234.4 | 23824.25 | 24478.18 | 27104.19 | 32683.73 | 53062.74 | 56460.4 | 33993.5 | 26436.9 | 23193 | 19075.13 | 242.6218 | 219.9455 | 242.4416 | 229.6932 | 225.1832 | 202.7286 | 199.3103 | 195.7832 | 193.6472 | 210.6658 | 219.0028 | 237.8638
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.95 | 0 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21376.84 | 19303.45 | 21357.35 | 20659.23 | 21342.35 | 20650.4 | 21336.22 | 21335.84 | 20650.43 | 21343.98 | 20666.11 | 21367.22 | 51.068 | 58.8496 | 87.4518 | 142.7774 | 171.4738 | 228.0199 | 417.073 | 434.9834 | 239.8253 | 157.0603 | 109.5354 | 70.652 | 15633.95 | 12666.61 | 9553.826 | 6382.564 | 4873.23 | 3629.112 | 2960.294 | 2840.755 | 3636.077 | 5381.954 | 8528.939 | 12633.38 | 20686.71 | 19617.18 | 24800.01 | 24871.85 | 27600.65 | 32907.42 | 53002.09 | 56155.57 | 34181.76 | 26926.82 | 24249.68 | 23124.02 | 242.6283 | 219.9459 | 242.4535 | 229.6928 | 225.183 | 202.7231 | 199.3101 | 195.7832 | 193.6491 | 210.6599 | 218.9948 | 237.8589
25 | 7.5 | 5.5 | 0.9 | 0.7 | 0.75 | 1 | 22950.4 | 2 | 0 | 1 | 27249.52 | 24612.47 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 27249.52 | 26370.5 | 27249.52 | 26370.5 | 27249.52 | 30332.28 | 27396.82 | 30332.07 | 29353.79 | 30332.28 | 29353.58 | 30332.28 | 30332.18 | 29353.69 | 30332.28 | 29353.69 | 30332.18 | 21450.91 | 19358.73 | 21382.5 | 20662.96 | 21342.32 | 20650.43 | 21336.22 | 21335.84 | 20650.41 | 21345.24 | 20681.5 | 21417.95 | 0.029756 | 0.026877 | 0.031803 | 10.0767 | 61.7534 | 196.2642 | 440.775 | 475.7966 | 214.1024 | 47.6138 | 3.3397 | 0.029758 | 38742.64 | 29912.44 | 17400.15 | 7545.132 | 4862.315 | 3635.295 | 2959.442 | 2841.542 | 3629.322 | 5773.13 | 13331.84 | 28459.32 | 0 | 0 | 0.002587 | 3147.465 | 15613.44 | 30594.41 | 55792.33 | 60978.42 | 32379.67 | 12538.15 | 1006.516 | 0.000343 | 242.6249 | 219.9503 | 242.5043 | 229.6956 | 225.1839 | 202.7287 | 199.3097 | 195.7832 | 193.6393 | 210.6479 | 219.0081 | 237.8541

## Sheet2
Month
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec